**Appendix– IV**

**(Schedule of Quantity)**

|  |  |  |
| --- | --- | --- |
| **Sr. No.** | **Name of Item/Equipment** | **Qty.** |
| 4 | **Function Generator/Arbitrary Waveform Generator 2-Channel**  **Possible Company / Make:** Keysight / Tektronix / Aplab / Agilent-Channel-2   * Waveform Generator, Trueform, Arbitrary, 2 * Channel, 30 MHz, s * 30 MHz sine, square, and pulse bandwidth cover more applications * < 40 ps jitter and less than 04% total harmonic distortion for more precise signals * 250 MSa/s, 16-bit sampling rate for higher time-resolution arbitrary waveforms * Point-by-point arbitrary waveforms sequencing for accurate representation of user-defined signals * Dual-channel mode with independent or coupled channels * 1 MSa waveform memory | 03 |